Site Name:Bedstone Growers

Site Address:Heath Farm, Hopton Heath, SY7 0QB

| Item Description | Action | Frequency |
| --- | --- | --- |
| Fuel Storage | Check bunding and stocks | Weekly |
| Drainage System | Ensure gulley’s and sediment traps are clean. Check guttering and downspouts. Ensure catchment tanks are empty prior to wash down. Check changeover/diverter valves and bungs for operation. | Weekly |
| Buildings Integrity | Visual check around outside of buildings and concrete areas. | Monthly |
| Electrical Systems | Service by qualified electrician. Ensure correct daily operation. | Service each crop Daily during crop |
| Heating Systems | Routine maintenance. Ensure correct daily operation. | Service each crop Daily during crop |
| Ventilation Systems | Routine maintenance. Ensure correct daily operation. | Service each crop Daily during crop |
| Feeder Systems | Routine maintenance. Ensure correct daily operation. | Service each crop Daily during crop |
| Drinker System | Clean and sanitise. Adjust height daily, record water usage and check for leaks. | Service each crop Daily during crop |
| Generator | Service contract. Check for any leaks. | Service bi-annual Test run weekly |
| House Environment | Ensure correct temperature and humidity levels to maintain litter quality. | Daily |
| Wash Down Tanks | Monitor levels during washing to maintain at least 300mm freeboard. | During wash down |